【模拟单证 · SIMULATED DOCUMENTS · 仅供流程测试，不具任何法律效力】

SIMULATED / NOT A REAL SHIPPING DOCUMENT - FOR PROCESS TESTING ONLY

AL-NOOR PETROCHEMICAL COMPANY

Plot 12, Al Jubail Industrial City Phase 2, Al Jubail 35718, Kingdom of Saudi Arabia

CERTIFICATE OF ANALYSIS / 分析证书

| Certificate No. 证书编号 | COA-MEG-260512 | Date of Analysis 分析日期 | 2026-05-10 |
| --- | --- | --- | --- |
| Product 产品名称 | ETHYLENE GLYCOL (MEG), INDUSTRIAL GRADE | CAS No. | 107-21-1 |
| Batch No. 批号 | MEG2605-B12 | Date of Mfg. 生产日期 | 2026-05-10 |
| Quantity 代表数量 | 180,000 kg (9 × 20 MT) | Packages 包装件数 | 9 ISO TANKS |
| Grade 等级 | Industrial Grade | Manufacturer 生产商 | AL-NOOR PETROCHEMICAL COMPANY |
| Customer 客户 | NINGBO HAIYUAN NEW MATERIAL TRADING CO., LTD. | Order / PO No. | PO-HYNM-2603-011 |

ANALYTICAL RESULTS / 检测结果

| No. | Test Item / 检验项目 | Specification | Test Method | Result | 判定 |
| --- | --- | --- | --- | --- | --- |
| 1 | Ethylene Glycol content (Purity), wt% | ≥ 99.99 | ASTM E2313 | 99.97 | Pass |
| 2 | Water, wt% | ≤ 0.080 | ASTM E203 | 0.030 | Pass |
| 3 | Colour (Pt-Co), Hazen | ≤ 5 | ASTM D1209 | 3 | Pass |
| 4 | Acidity (as acetic acid), wt% | ≤ 0.005 | ASTM D1613 | 0.002 | Pass |
| 5 | Iron (Fe), mg/kg | ≤ 0.1 | ASTM E394 | < 0.1 | Pass |
| 6 | Ash, wt% | ≤ 0.010 | ASTM D482 | 0.003 | Pass |
| 7 | Specific Gravity @ 20 °C | 1.110 – 1.115 | ASTM D4052 | 1.1128 | Pass |
| 8 | Aldehydes (as acetaldehyde), mg/kg | ≤ 8 | ASTM E411 | 5 | Pass |
| 9 | Appearance (visual) | Clear, colourless, free of suspended matter | Visual | Clear, colourless | Pass |

The product complies with the specifications listed above and with Product Specification Sheet PS-MEG-IND-24.

Remarks / 备注：Issued for the above lot only. Sampling per ASTM D4177 from tank. Retain sample kept for 6 months.

| Prepared by | Checked by | Approved by |
| --- | --- | --- |
| QC Laboratory / Al Jubail | Senior Chemist | Quality Assurance Manager |
| ________________ | ________________ | ________________ |

COA No. COA-MEG-260512   Batch MEG2605-B12   Simulated manufacturer's certificate - not valid for claim or customs purposes.